How to Restart LineServers Hardware via UA Expert

- Add the Gateway Server and establish a connection.

- Navigate to cellgateway > configuration > RestartLineServerHardware

- Right click on RestartLineServerHardware and Select Call

- In the popup, choose Call without any input or output arguments

- If you encounter an error, set the username and password as given below, then repeat the above procedure

- If it succeeds, open the M8 Plus application and login using Admin credentials